## Table S1
Online Supplementary Document Moxon et al. Service readiness for inpatient care of small and sick newborns: what do we need and what can we measure now? J Glob Health 2018;8:010702
Labour and Delivery Room
Infrastructure | Equipment | Drugs
General newborn equipment
Access to drinking water (for staff and patients) | Back up generator 25-50 KVA capacity (may be shared with other units)
Access to first stage labour room and postnatal room | Blood pressure apparatus (sphygmomanometer)
Area for newborn resucitation | Blood pressure accessories including neonatal sized blood pressure cuff (sizes 1-5)
Clean storage space for supplies (linen and general equipment) | Blood sugar glucose dipsticks
Communication infrastructure (telephone, internet or radio access (may be shared with other units)) | Bowls (preferably polypropylene)
Consistent, uninterrupted 24 hour stabilised power supply | Computer (may be shared with other units)
Dedicated space for labour and delivery only | Cot/bassinet/bayonets on castors
Fan or air conditioning | Delivery beds (for mothers)
Health management information system (shared with other units) | Delivery packs
Heating arrangements | Doppler
Lighting to ensure good illumination day and night | Dressing trolley (or equivalent)
Consistent oxygen source/supply | Dressing trays/procedure trays (or equivalent) (sterile and non-sterile)
Midwives station/charting or staff work area | Emergency trolley (or equivalent)
Sufficient infrastructure for privacy for mothers, including curtains | Endotracheal tubes
Toilet or latrine for patients and visitors | Episiotomy scissors
Toilet or latrine for staff | Fetal stethoscope
Water supply (uninterrupted) (for hand washing, cleaning etc.) | Flashlight/torch with spare batteries
Waiting area for visitors/family | Forceps (large and medium)
24 hour service availability | Gauze
Gauze bandages
Glucometer with test strips
Heel lancet
Infusion stands
Infusion kits
IV cannula 22G, 24G, (25G, 28G rarely used)
Kidney bowls (polypropylene, stainless steel) 825ml
Magills forceps
Manual vacuum extractor
Measuring tape (preferably vinyl coated)
Mucus extractor
Nasogastric feeding tubes 3.5-10 with caps
Oxygen tubing
Paediatric infusion set (60 drops per ml burette)
Partograph
Recharger for batteries
Refridgerator (for drugs etc)
Scissors
Speculum
Sterile gauze
Sterile needles (19-26 gauge) or butterfly set (23-25 gauge)
Sterile syringes (small sizes 0.5, 1ml, 2ml, 5ml, 10ml, 20ml)
Sterile tissue forceps
Sterile drapes
Stethoscope (neonatal)
Suction pump (portable, electrical with accessories)
Suction pump (manual, non-electric power dependent)
Suture set (needle and materials)
Swabs and/or cotton wool balls
Vital sign monitors (NIBP, HR, SpO2, ECG,, RR, Temp) with accessories
Wall clock/timer with second hand
| Weighing scales for newborns (preferably with 5-10g increments) |  | 71
Infection Prevention and Control
Access to laundry facilities | Alcohol-based hand rub
Areas for hand washing | Antiseptics (e.g. chlorhexidine 7%, ethanol, povidone-iodine, chlorhexidine gluconate 4% gel, aqueous chlorhexidine 0.05% and 0.2%).
Area for cleaning and disinfecting supplies and equipment | Autoclave (or equivalent sterilisation equipment can be shared with other units)
Autoclave room or sterilization space (can be shared with other units) | Contaminated waste bin (leak proof)
Hand washing stations/sinks | Decontamination container
Incinerator (eg. burn in incinerator, off-site incineration can be shared with other units) | Disinfectant solutions (e.g. chlorine bleach)
Sterilisation space (eg.space for dry heat, steam, electric boiler or steamer or non-electrics with cover for boiling and steaming & drum and stand) (can be shared with other units) | Eye shields
Storage space for soiled utility | Gloves (disposable)
Ventilation | Gloves (sterile)
Gloves (elbow length heavy duty)
Gloves (heavy duty rubber or latex utility gloves)
Hand drying options (paper towels or appropriate hand dryers)
Iodine
Instrument sterilizer
Mayo stand (or equivalent) on castors
Nail brushes or sticks
Non-sterile protective clothing (e.g. plastic aprons)
Pictorial hand washing instructions
Regular trash/waste bin
Receptacle for soiled linen
Sharps containers (puncture proof)
Sluice
Soap for handwashing
Surgical masks, drapes and cap and boots for procedures
| Umbilical vein catheters sizes 3.5 and 5 (where expertise available) |  | 35
Essential Newborn Care
As per general and infection control infrastructure for labour and delivery room | As per general equipment and infection control items for labour and delivery room | See specific drugs list for eye ointment and Vitamin K
Clean blankets, towels and linen (for drying baby)
Disposable diapers/nappies
Newborn hats/caps (including preterm sizes)
Newborn mittens, socks
Sterile scissors and/or sterile blade to cut cord
| Umbilical cord clamp (sterile ligatures or clamp of Barr) or cord ties/sterile thread |  | 6
Immediate and Exclusive Breastmilk Feeding
As per general and infection control infrastructure for labour and delivery room | As per general equipment and infection control items for labour and delivery room
Expression space/expressing room and storage for expressed breastmilk (see also sick newborn space) | Educational information on breastfeeding for mothers (e.g. written and pictoral information, support classes or groups, posters)
Space/allowance for patient privacy for mothers |  |  | 3
Neonatal Resuscitation
As per general and infection control infrastructure for labour and delivery room and essential newborn care | As per general equipment and infection control items for labour and delivery room and essential newborn care
Newborn emergency space for resuscitaire/newborn resuscitation | Airway suction apparatus (suction bulb manual, mechanical or electrical)
Bag self inflating (neonatal size, ideally with filter)
Neonatal sized face masks (size 0-1)
Nasal prongs 1mm and 2mm (if nasal prongs not available use nasal catheter (8-F and 6-F sizes)
Neonatal sized pulse oximetry probes/sensors for oxygen saturations
Mucus extractor
Oxygen humidifiers
Oxygen low flow device
Oxygen flow splitter for newborn
Oxygen tubing
Resuscitation mannequin (for practice)
Resuscitaire (with heat source)
Suction catheters size 5, 8, 10, 12 & 14 (sterile disposable)
Pulse oximeter
T-piece resuscitator (only where expertise available)
| Wall charts/action sequences for neonatal resuscitation (e.g. HBB flowchart) |  | 17
PMTCT
As per general and infection control infrastructure for labour and delivery room | As per general equipment and infection control items for labour and delivery room and essential newborn care | See specific essential drugs table, protocols may vary between settings
See laboratory section - access to infrastructure for HIV testing equipment and screening for congenital TB |  |  | 1
Documentation for newborn unit
GUIDELINES AND/OR PROTOCOLS for the following:
CEmOC and BEmOC guidelines
Classification of breathing difficulty and SpO2 thresholds
Cleaning of instruments and equipment
Essential newborn care guidelines
Infection prevention and control guidelines for the labour and delivery unit and standard precautions
Management of pregnancy and childbirth (Integrated management of pregnancy and Childbirth - IMPAC)
Management of pregnancy and newborn complications
Newborn resuscitation guidelines
National immunisation schedule
PMTCT guidelines, including vaccination schedule
Referral and transfer to neonatal unit
Standards on immediate and exclusive breastfeeding
Use of radiant warmers
CHECKLISTS
Cleaning schedule and/or daily cleaning checklist
Drug inventory
FOR EACH NEWBORN
APGAR
Birth certification papers
Newborn screen filter cards (per national protocol)
General birth records/notes (ongoing medical care)
Health insurance form (if relevant)
Immunisation cards/weight cards
ID labels
Laboratory request forms
Referral forms (if needed)
GENERAL REGISTERS/LOG BOOKS
Birth registration (or access to)
Cause of death certificates
Death/mortuary register
General register for labour and delivery ward
Newborn death stillbirth audit
Referral register
Postpartum ward register
PMTCT labour and delivery register
Guidelines protocols on vaccination schedule for HIV exposed infants |  |  | 34
167
Place for Small and Sick Newborn Care
Infrastructure | Equipment | Drugs
General for neonatal unit (service availability 24/7)
24 service availability | Adhesive strapping for peripheral lines (or IV film dressing)
Access to drinking water (for staff and patients) | Baby nappies/diapers napkins
Area for preparing IV drugs and fluids | Back up generator 25-50 KVA capacity
Clean storage space for supplies (linen, diapers, clinical supplies and general equipment) | Blood collection tubes (appropriate small size) e.g. vacuum tubes serum and EDTA 3ml and 6ml
Communication infrastructure (telephone, internet or radio access (may be shared with other units)) | Blood collection tube holders
Consistent, uninterrupted 24 hour stabilised power supply | Blood collection vacuum tube needles 22G
Dedicated space/room or building (only for small and sick newborns) | Blood pressure apparatus (sphygmomanometer)
Dedicated workspace for doctor on duty | Blood pressure accessories including neonatal sized blood pressure cuff (sizes 1-5)
Examination space or area for treatment/stabilisation (allowing for good lighting, warm, with facilities for resuscitaiton and patient privacy) | Blood pressure transducer (for central arterial lines)
Fan or air conditioning with air filters (to prevent risk of airborne infection) | Bowls (polypropylene)
Food provision for mothers that are rooming-in/providing KMC (access to) | IV cannula 22G, 24G, 25G 28G
Health management information system | Capillary sample tubes (glass collection tubes)
Heating arrangements | Comfortable chairs for mothers
Lighting to ensure good illumination day and night | Comfortable chairs for staff
Nurses station/charting or staff work area | Communication equipment (e.g. radio, telephone)
Rooming in facility with chairs and beds for mothers (see kangaroo mother care) | Computer (for electronic records or data system may be shared with other unit)
Toilet or latrine for staff | Clean blankets, towels and linen including survival blankets
Toilet or latrine for patients and visitors | Cots/bayonets for newborns
Water supply (uninterrupted) (for hand washing, cleaning etc.) | Cot and incubator mattresses
Waiting area for visitors/family with educational materials/parent information | Dressing trolley (or equivalent)
Dressing trays/procedure trays
Emergency trolley (or equivalent)
Examination lights mobile - 220-12V
Flashlight/torch with spare batteries
Gauze, swabs, cotton wool
Gauze bandages
Heated mattresses (e.g. for hot cots)
Identification bands
Incubators
Infantometer, plexi, 105cm
Intra-osseous needle (or 22G needles)
Kidney bowls (polypropylene, stainless steel) 825ml
Long line packs (for percutaneously inserted central lines)
Lumbar puncture needles (or 23G needles)
Measuring tape (preferably vinyl coated)
Mucus extractor
Newborn hats/caps (including preterm sizes)
Newborn mittens, socks
Padded boards and/or splints for neonates and preterm
Room thermometer
Radiant warmer, fixed height, with trolley, drawers and O2 bottles
Recharger for batteries
Refridgerator (for drugs etc.)
Sample collection tubes (pus, cerebrospinal fluid)
Scissors
Soft gauze torniquet (or rubber band for scalp vein)
Spacer
Spatula
Sterile equipment stand/dressing tray
Sterile gauze
Sterile tissue forceps
Sterile (low flow) lancet for heel pricks
Sterile blades/scissors
Stethoscope (neonatal)
Suction catheters size 5, 8, 10, 12 & 14 (sterile disposable)
Suction pump (portable, electrical with accessories)
Suction pump (manual, non-electric power dependent)
Suture set
Thermometers (preferable digital for newborns that measure 32°C-43°C - must measure below 35.5°C degrees)
Umbilical vein catheters sizes 3.5 and 5 (where expertise available)
Urinary catheter sizes 5-8
Urine bags (paediatric)
Urine dipsticks (Multistix)
Vital sign monitors (NIBP, HR, SpO2, ECG, RR, Temp) with accessories
Wall clock/timer with second hand
Weighing scales for newborns (preferably with 5-10g increments)
X-ray system (preferably mobile for chest x-ray e.g. for pnuemothorax) (may be shared with other units)
X-ray viewer (negatoscope) (may be shared with other units)
CT scanner (may be shared with other units)
Echocardiography
Electrocardiagram (ECG) recorder, portable, with accessories (may be shared with other units)
MRI (unlikely to be available in most settings. If available, may be shared with other units)
Ultrasound scanner (portable) with appropriate probes (e.g. for cranial ultrasound) (not available in all settings and may be shared with other units)
96
Infection Prevention and Control for the Neonatal Unit
Access to laundry facilities | Alcohol-based hand rub
Areas for hand washing | Antiseptics (e.g. chlorhexidine 7%, ethanol, povidone-iodine, chlorhexidine gluconate 4% gel, aqueous chlorhexidine 0.05% and 0.2%).
Area for cleaning and disinfecting supplies and equipment | Autoclave (or equivalent sterilisation equipment) (may be shared with other units)
Autoclave room or sterilization space (may be shared with other units) | Contaminated waste bin (leak proof)
Hand washing stations/sinks | Decontamination container
Hand drying towels (single use) | Disinfectant solutions (e.g. chlorine bleach)
Incinerator (e.g. burn in incinerator, off-site incineration) (may be shared with other units) | Gloves (sterile)
Sterilisation space (e.g. space for dry heat, steam, electric boiler or steamer or non-electrics with cover for boiling and steaming & drum and stand) (can be shared with other units) | Gloves (regular/disposable)
Storage space for soiled utility | Gloves (heavy duty rubber or latex utility)
Ventilation | Instrument sterilizer
Mayo stand (or equivalent) on casters
Nail brushes or sticks
Non-sterile protective clothing (e.g. plastic aprons)
Pictorial hand washing instructions
Regular trash/waste bin
Receptacle for soiled linen and diapers
Sharps containers (puncture proof)
Sluice (may be shared with other units)
Soap for handwashing
| Surgical masks, drapes, gowns and cap for procedures |  | 31
Neonatal Resuscitation on neonatal unit
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment for small and sick newborn space
See oxygen adminstration for other items | Bag and mask self inflating (neonatal size, ideally with filter)
Oropharyngeal airway/guedel airway
Neonatal sized face masks (size 0-1)
See oxygen adminstration for other items
5
Kangaroo Mother Care (KMC) including follow up
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment for small and sick newborn space | See drugs list for supplements, vitamins etc.
Dedicated, separate room or space for mothers to room in (KMC room/ward) | Beds for mothers (lateral position) with curtains for privacy
Private washing areas and toilet for mothers | Cabinets for mothers
Food provision for mothers/area for preparation of food | Caps/hats for small babies
Sufficient space for mothers to store personal items, comfortable chairs and privacy | Comfortable chairs for mothers
Insecticide treated bednets for KMC mothers (in malaria endemic areas)
9
Alternative feeding if baby unable to breastfeeding (cup & nasogastric feeding)
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment for small and sick newborn space | See drugs list for supplements, vitamins etc.
Area or room for breastmilk expression | Adhesive tape/strapping for NG tubes
Milk room/area for preparing milk feeds and storage of expressed breastmilk | Bottles, teats, dummies (as appropriate for feeding guidelines)
Breast pumps (battery powered)
Breastmilk subsitute (only for babies with mothers unable to express mik)
Collection containers (for expressed breastmilk)
Feeding cups and spoons/paladai/feeding syringes
Lithmus paper/testing strips (or equivalent)
Nasogastric feeding tubes 3.5-10 with caps
Educational information on breastfeeding for mothers (e.g. written and pictoral information, posters)
Refrigerator and freezer (for milk storage only)
Sterile feeding syringes (2.5ml, 5ml, 10ml)
Stethoscope
| Utensils and containers for preparing milk feeds especially graduated measuring jug/cup |  | 15
Safe administration of oxygen (including equipment for resuscitation)
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment for small and sick newborn space | See drugs list
Consistent oxygen source/supply (e.g. oxygen concentrators) | Apnoea monitor
Bag and mask self inflating (neonatal size, ideally with filter)
Head box (optional)
Mucus extractor
Nasal prongs 1mm and 2mm (if nasal prongs not available use nasal catheter (8-F and 6-F sizes)
Neonatal sized face masks (size 0-1)
Neonatal sized pulse oximetry probes/sensors
Oxygen blenders
Oxygen humidifiers
Oxygen low flow device
Oxygen flow splitter for newborn
Oxygen tubing
Pulse oximeters (bedside)
Resuscitation mannequin (for training and practice)
Suction bulbs
Suction catheters size 5, 8, 10, 12 & 14ch
Suction pump (portable, electrical with accessories)
| Suction pump (manual, non-electric power dependent) |  | 19
Intravenous fluids and management of hypoglycaemia
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment for small and sick newborn space | See drugs section for specific IV fluid preparation
See laboratory section | Butterfly sets (22-25 gauge)
Separate area/clean space for preparing IV fluids (can be the same area as for preparation of IV drugs) | Glucometer
IV tubing/infusion set (neonatal giving set) with burette 100-150ml, sterile, single use
IV infusion stands on castors
Sterile needes (19-26 gauge) or butterfly set (23-25 gauge)
Sterile syringes (small sizes 0.5, 1ml, 2ml, 5ml, 10ml, 20ml)
Stopcocks 2 or 3 way
Syringe driver/syringe pumps 10, 20, 50ml (single phase)
| Rapid blood sugar testing strips/paper reagent strips or equivalent |  | 10
Injectable antibiotics for neonatal infection
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control infrastructure for small and sick newborn space | See drugs section for specific antibiotics, including gentamicin, ampicillin and fluids for dilution
Lab infrastructure for septic screening (blood culture, Full blood count, C-Reative Protein) (see lab) | See general equipment and specific equipment for IV fluids
Separate area/clean space for preparing IV drugs (can be the same as area for IV fluids)
Effective Phototherapy
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment for small and sick newborn space
See laboratory section for bilirubin levels (or trancutaneous bilirubinometer on ward) | Eye patches/eye shields for baby
Exchange transfusion sets
Icterometer
Irradiance meter/spectro-radiometer
Phototherapy lamps/units with fluorsecent tubes (high intensity) or LED phototherapy
Spare fluorescent tubes
Trancutaneous bilirubinometer
White linen for babies on phototherapy for cot and to cover unit
8
Seizure Management
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment for small and sick newborn space | See drugs section for emergency drugs including phenobarbital
See laboratory section
Continuous Positive Airway Pressure and Assisted/Mechanical Breathing
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment and safe oxygen therapy equipment for small and sick newborn space | See drugs section
See laboratory section | CO2 detector
Chest drain set
CPAP driver system (standard or bubble CPAP) with accessories (may vary dependent on CPAP system used)
Distilled water
Drainage tubing and under water seal drainage bottle plus accessories
Endotracheal tubes (disposable cuffed or uncuffed), sizes 2.0, 2.5, 3.0 and 3.5
Endotracheal tube introducers
Infant laryngoscope set with spare bulb and batteries
Infant laryngoscope (0,1 blades)
Large forceps (e.g spencer wells)
Laryngoscope light bulb (spare)
Oxygen air blenders
Pump suction, portable, bottle with accessories
Nasogastic suction tubes 3.5, 5, 8, 10
Respirator/ventilators plus accessories
Portable patient monitors
| Transilluminators |  | 17
Blood Transfusion for Newborns
Blood bank (see lab and blood bank for specifics) | Neonatal blood transfusion set | See essential drugs list
4-way stopcock for umbilical venous line
Exchange transfusion sets
| Portable monitors |  | 4
Treatment and screening for retinopathy of prematurity
As per general and infection control infrastructure for small and sick newborn space | As per general and infection control equipment and safe oxygen therapy equipment for small and sick newborn space | Dilating eye drops (tropicamide 0.5% + phenylepherine 2.5%)
Opthalmology service (does not need to be 24 hour) | Indirect opthalmoscope (with small pupil adjustments) x1 per neonatal unit | Local aneasthetic eye drops (proparacaine 0.5%)
| Condensing lenses 20D and 28D for indirect opthalmoscope | Artifical tear drops - for lubrication during procedure
| Neonatal lid speculums (Alfonso) | Antibiotic drops (moxifloxacin/betadine) - at end of procedure
Scleral depressors (Schoket/wire vectis)
Solution for corneal wetting (e.g. Ringer's lactate)
Newborn pulse oximter
Laser (can be shared between more than one facility/service)
Portable diode/green laser with indirect delivery system (can be shared between more than one facility)
Laser goggles
14
Documentation
GUIDELINES AND/OR PROTOCOLS for the following:
Admission guidelines
Blood transfusion and exchange transfusion procedural guidelines
Classification of breathing difficulty and SpO2 thresholds and protocols for oxygen therapy and monitoring
Cleaning of instruments and equipment
Discharge and follow up
Disease specific treatment guidelines (e.g. malaria, tetanus, hepatitis, Zika)
Drug doses, dilutions and preparations for the neonatal unit
Gestational age assessment
IMNCI
Inborn and outborn infants
Infant feeding for the neonatal unit, including enteral feeding volumes by weight and age, IV fluid volumes
Infection prevention and control for the neonatal unit
Kangaroo mother care
Management of gastric residuals
Management of newborn convulsions and spasms
Medication formulary (with neonatal doses) or prescribing guideline
Neonatal practical procedure guideline or advanced neonatal guidelines
National immunisation schedule
Parental/family visitation and access
Referral
Thermal protection, including bathing
Treatment of HIV on the neonatal unit and vaccination schedule for HIV exposed infants
Treatment thresholds for phototherapy and exchange transfusion
Use of incubators and radiant warmers
Visitation
Use of phototherapy units (eg. positioning of phototherapy lamps, baby etc.)
CHECKLISTS and JOB AIDS
Cleaning schedule and/or daily cleaning checklist
Discharge checklist
Drug inventory
Emergency trolley checklist
Fluid volumes and medications
Follow up
Prescription charts
DOCUMENTATION FOR EACH INPATIENT
Discharge forms
Fluid balance and feeding chart (fluid input and output)
General clinical records/notes (ongoing medical care)
Growth chart (weight, length, head circumference) (premature and infant charts)
Health insurance form (if relevant)
ID labels for inpatients
Lab request forms
Observations charts for recording of vital signs
Prescription chart
Referral forms (if needed)
Tetanus observation charts
Transfusion surveillance/vital signs document (for blood transfusions)
GENERAL REGISTERS/LOG BOOKS
Birth registration
Cause of death certificates
Civil Vital registration system
Death/mortuary register
Discharge register
Kangaroo mother care register
Newborn care unit register
Newborn death stillbirth audit
Referral register
Reporting forms for adverse events (including blood transfusion reaction reporting)
Vaccination record/register
57
266
Referral Service
Infrastructure | Equipment | Drugs
Vehicle maintainance infrastructure (or access to) | Adhesive tape | IV fluids
Communication for transport vehicle (e.g. radio ) | Antiseptic solution | Drugs/medicine (any medicine newborn is taking if receiving a dose during trip)
Fuel source/system | Blankets/linens | Expressed breastmilk (if baby is able to feed or, preferably, mother with newborn)
Butterfly set or cannula
Cotton wool balls and /or guaze
Diapers/napkins
Fuel for transport vehicle
Gastric tubes (size 5, 6, 7, 8)
Gloves
Hats, socks, mittens (for baby)
IV infusion set
Resuscitation bag and mask
Portable suction apparatus
Pulse oximetry
Oxygen cylinder with flow metre
Oxygen cylinder (portable)
Nasal prongs/and or nasal catheter
Source of warmth
Stethoscope
Sterile needes (19-26 gauge) or butterfly set (23-25 gauge)
Sterile syringes (small sizes 0.5, 1ml, 2ml, 5ml, 10ml, 20ml)
Torch with extra batteries and bulb
Thermometer
Transport incubator(s)
Transport vehicle (type may vary by context)
| Wraps or cloths for kangaroo position |  | 33
Documentation
GUIDELINES/PROTOCOLS
Referral guidelines
Distance to nearest intensive care and special care unit and contact number of centre with advanced care
DOCUMENTATION
Detailed documents with patient notes (drugs and other treatment given before transport)
3
Human Resources
Provider
NUMBERS OF EACH PROVIDER NOT PROVIDED HERE BUT STAFF RATIOS SHOULD BE ESTABLISHED BASED ON NATIONAL GUIDELINES BY PATIENT CASELOAD. JOB DESCRIPTIONS SHOULD BE AVAILABLE FOR ALL STAFF.
Administration staff | Lactation counsellor/infant feeding coordinator | Pediatrician
Anesthetist | Midwifery professional (eg enrolled midwife, degree, diploma) | Pharmacist
Biomedical engineer | Nursing professsional | Pharmacy technicians/assistants
Cleaners | Neonatal nurse (or nursing/midwifery professionals with specialist training in sick newborn care) | Porters
Community health worker (or equivalent) | Neonatalogist | Psychologist
Driver (transport vehicle) | Nutritionist | Physiotherapist
General medical doctor | Obs/gyne doctor | Radiographer
Health officer/Clinical officer (may be context specific) | Other nursing professionals (e.g. enrolled nurse), nursing assistants or auxillaries | Security staff
Health information technologist/data manager | Other anesthetics staff (e.g. nurse anasthetist, diploma etc.) | Social worker
Lab scientist | Opthalmologist | Speech therapist (or equivalent)
Lab technician | Pathologist | Surgeon | 33
Medicines/drugs
Infrastructure
Pharmacy service availability 24/7
Supply management system
Refridgeration for vaccination
Refridgeration for other drugs/medicines
Safe drug storage conditions (protection from moisture, heat, infestation)
Drug inventory (also in health information section) |  |  | 6
Antiretrovirals (may vary depending on national HIV guidelines) | Anticonvulsants | Emergency Drugs
Azidothymidine/Zidovudine (AZT) (oral) | Diazepam (oral/NG) | Adrenaline/epinephrine (IV)
Lamivudine | Diazepam emulsion (IV) | Aminophylline
Nevirapine (NVP) (oral) | Midazolam (oral solution) | Atropine (injection)
| Paraldehyde (rectal) | Calcium gluconate 10% (injection)
| Phenobarbital (IV or IM) | Hydrocortisone (injection)
| Phenobarbital (oral) | Magnesium sulphate (IV)
| Phenytoin (IV) | Naloxone (IV)
Analgesics | Corticosteroids | IV Fluids
Ibuprofen (IV) | Betamethasone (IM)* | Calcium gluconate 10%
Morphine (IV) | Dexamethasone (IM) * | Dextrose 10% with normal saline
Morphine (oral) |  | Dextrose/glucose 5%
Paracetamol (oral) |  | Dextrose/glucose 10%
Paracetamol (suppository) |  | Potassium chloride (KCL) 7.5%, 10%, 15%
Paracetamol (injection) |  | Sodium bicarbonate
Sodium chloride 0.9%
Ringer’s lactate
Water for injection
Anti-malarials | Vaccines
Artesunate (IV or IM) | BCG vaccine
Artesunate (rectal) | Diptheria
Arthemeter (IM) | Pertussis vaccine
Artemisinin-based combined therapy (oral) | Haemophilus influenzae type b (Hib) vaccine
Hepatitis B vaccine
Oral poliomyelitis vaccine
Antibiotics | Other drugs
Amoxicillin (oral suspension) | Aciclovir (IV) | Phosphate and calcium supplements
Amoxicillin (injection) | Acyclovir 3% topical eye ointment | Potassium chloride (1mmol/ml) (oral)
Amikacin | Anti-Rho (D) immune globulin (injection) | Pyridoxine (oral)
Ampicillin (IV or IM) | Caffeine citrate (oral) | Ranitidine (IV)
Ampicillin (oral) | Caffeine citrate (IV) | Ranitidine (oral)
Azithromycin (oral) | Chlorhexidine digluconate 7.1% gel (delivering 4% chlorhexidine) | Rifampicin
Benzathine benzylpenicillin (IM) | Domperidone | Pyrazinamide
Benzylpenicillin (Penicillin G) (IV or IM) | Ethambutol | Sucrose 30% (oral)
Cefalexin (oral suspension) | Ferrous fumerate (oral syrup) | Surfactant (not likely to be available in many settings due to cost)
Cefotaxime (IV or IM) | Folic acid | Tetanus immunoglobulin (HTIG) (IM)
Ceftriaxone (IV or IM) | Fluconazole (IV) | Vitamin B6 (pyridoxine) (IV or IM)
Ciprofloxacin (injection) | Fluconazole (oral) | Vitamin D
Ciprofloxacin (oral) | Furosemide (IV) | Vitamin K1 (Phytomenadione) (IM or IV)
Clindamycin (IV) | Furosemide (oral) | Water based lubricant
Co-amoxiclav (oral suspension) | Glycerin chip | Zinc oxide cream
Co-amoxiclav (injection) | Hepatitis B immune globulin (HBIG)
Cotrimoxazole (oral) | Human milk fortifier
Erythromycin (oral) | Insecticide treated bed nets (in malaria endemic areas)
Flucloxacillin (IV/IM) (cloxacillin) | Lidocaine solution
Flucloxacillin (oral) | Miconazole cream (or equivalent e.g. gentian violet)
Gentamicin (IM or IV) | Multivitamin
Isoniazid (oral) | Nystatin (oral solution)
Kanamycin | Nystatin cream
Metronidazole (IV) | Omeprazole (IV)
Metronidazole (oral) | Omeprazole (oral)
Penicillin G Procaine (IM only) | Oral rehydration solution
Procaine benzylpenicillin (IM) | Oxygen supply
Tetracycline 1% eye ointment
114
Laboratories and Blood Bank
Biochemistry should be able to perform: | Haemotology should be able to perform: | Microbiology should be able to perform:
Blood glucose (e.g. glucometer and test strips) | Blood typing and cross matching | Culture and sensitivity on samples of blood, pus, cerebrospinal fluid and urine
C-reactive protein (CRP) | Coagulation profile | Cerebrospinal cell count
Electrolytes (urea, sodium, potassium, calcium, magnesium and creatinine) | Coombs test | Gram staining
Serum bilirubin (or transcutaneous bilirubinometers as cheaper alternative) | Full blood count (FBC)/Full blood examination (FBE) | Stool analysis
Cerebrospinal fluid analysis (glucose and protein) | Haemaglobin (e.g. haemacue, haemoglobin colour scale refill kit/starter kit) and or haematocrit testing (erythrocyte volume fraction)
Liver function testing
Blood gas analysis
Urine dipstick for urinalysis that measure: pH, proteins, glucose, ketones, blood nitrates, leucocytes
Glucose 6-phosphate deyrogenase (G6PD) screening
STI Testing including | Other important tests:
Chlamydia testing | TB testing (tuberculin skin testing, access to Ziehl-Neilsen staining and ideally GeneXpert)
Enzyme immuno assay (EIA), gonnorhea Ag, kit | Malaria testing (preferabily blood film microscopy as more reliable option than rapid diagnostic tests for neonatal malaria)
Hepatitis B surface antigen (HbsAg) | Glucose 6-phosphate deyrogenase (G6PD) screening
HIV testing kit | Thyroid function tests
Syphilis testing
Blood bank should have facilities to perform:
Blood typing and cross matching
Coombs test
Storage of fresh whole blood, including type 0, Rh-negative blood, packed cells and fresh frozen plasma |  |  | 32
Blood screening for HIV, Hep B, Hep C, Syphilis and malaria
Blood transfusion guidelines for neonates