Supplementary material for manuscript Optimizing the diagnostic capacity for COVID-19 PCR testing for low resource and high demand settings: the development of information-dependent pooling protocol

Supplementary material Table of contents

1. Basic assumptions	1

2. Halving protocol overview	2

3. Generalized halving protocol overview	3

4. Splitting protocol overview	4

5. Hypercube protocol overview	6

6. Information dependent protocol (indept) overview	7

Appendix A. Halving protocol	15

Appendix B. Generalized halving protocol	17

Appendix C. Splitting protocol	18

Appendix D. Hypercube protocol	19

Appendix E. Indept protocol	20

Appendix F. Expected number of cycles for the information dependent protocol	21

Appendix G. Development of indeptSp protocol	24

# 1. Basic assumptions

The basic assumptions for the method development are:

- Re-testing of the sample testing produces the same result (for ease of the calculation, errors are omitted at this stage);

- If at least one sample in the pool yields the positive result when individually tested, the pool would be positive;

- If all the samples in the pool individually tested give negative results, then the pool would be negative.

Further, we assume that one sample can be tested at most  times and that maximal size for the sample pool is. Here we provide the results for  and , but all formulas and algorithms can be generalized to any other pool size.

Let us define as the probability that true positive sample is tested positive and let us denote byprobability of false negative. Further, let  be the probability that true negative sample is tested as negative and let us denote by probability of false positive. Let  be the p of the positive samples in the set of analyzed samples. The probability  that test will be positive, which corresponds to a prevalence in a population, is then defined as:

.

# 2. Halving protocol overview

Suppose that we have a pool of size  that is tested positive, and that we want to test each sample. The first protocol under the assessment is the halving hit pool analysis (HHPA):

- If our set () has only one sample and the pool is tested positive, then the (only) sample is positive – no further testing is need.

- If  has more than one samples, then we can divide this set  in two halves, denoted  and . Next, we perform the test on the S1 set. If it tests negative, then all the samples in this set are negative, while at least one sample from  must be positive, so .

- If  is tested positive, then we have no knowledge about, hence besides testing , we should also test . If we test as negative, then all samples in  are negative and otherwise.

Suppose that we have a set of  samples with no prior knowledge about them. We can then use any set of samples and divide it into batches of size, where  is optimized in such a way that expected number of tests per sample is minimal and that  and (see Appendix A for details). Optimal values of  are presented in the Supplementary Table 1 and the scheme of the protocol is shown in the Supplementary Figure 1.

Supplementary Table 1. Initial batch size depending on  and  for the halving protocol

|  | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 0.1%-2.9% | 2 | 4 | 8 | 16 | 32 |
| 3.0%-5.0% | 2 | 4 | 8 | 16 | 16 |

Supplementary Figure 1. The halving protocol scheme

# 3. Generalized halving protocol overview

Suppose that we have a pool of size  that is tested positive. We can apply the generalized halving hit pool analysis (GHHPA) as:

- If  has  elements, then if , this element is positive and no further testing is need.

- Otherwise, test all elements except the last one. If at least one of them is tested positive, test the last one; and otherwise the last one is positive and it does not need to be tested.

- If  has  elements where , then this set is divided in two halves  and  Next, if  is tested as negative, then all samples in  are negative and  must be positive, so . If  is tested positive, then we have no knowledge about  hence besides testing , we should also test . If we then test  as negative, then all samples in  are negatives and otherwise .

Finally, any set of samples can be divided into batches of size  , where  and   are optimized in such a way that expected number of tests per sample is minimal (see Appendix B for details) and that:   and. Optimal values of  are presented in the Supplementary Table 2 and the scheme is shown in the Supplementary Figure 2.

Supplementary Table 2. Initial batch size depending on  and

|  | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 0.1% | 32 | 16 | 8 | 4 | 2 |
| 0.2% | 23 | 16 | 8 | 4 | 2 |
| 0.3% | 19 | 13 | 8 | 4 | 2 |
| 0.4% | 16 | 11 | 8 | 4 | 2 |
| 0.5% | 15 | 10 | 7 | 4 | 2 |
| 0.6% | 13 | 9 | 7 | 4 | 2 |
| 0.7% | 12 | 9 | 6 | 4 | 2 |
| 0.8% | 12 | 8 | 6 | 4 | 2 |
| 0.9% | 11 | 8 | 5 | 4 | 2 |
| 1.0% | 10 | 7 | 5 | 4 | 2 |
| 1.1%-1.2% | 10 | 7 | 5 | 3 | 2 |
| 1.3% | 9 | 6 | 5 | 3 | 2 |
| 1.4%-1.5% | 9 | 6 | 4 | 3 | 2 |
| 1.6% | 8 | 6 | 4 | 3 | 2 |
| 1.7% | 8 | 6 | 4 | 3 | 2 |
| 1.8%-2.0% | 8 | 5 | 4 | 3 | 2 |
| 2.1% | 7 | 5 | 4 | 3 | 2 |
| 2.2%-2.7% | 7 | 5 | 3 | 2 | 2 |
| 2.8%-2.9% | 6 | 4 | 3 | 2 | 2 |
| 3.0%-3.9% | 6 | 4 | 3 | 2 | 2 |
| 4.0%-4.6% | 5 | 4 | 3 | 2 | 2 |
| 4.7%-5.0% | 5 | 3 | 2 | 2 | 2 |

Supplementary Figure 2. The generalized halving protocol scheme

# 4. Splitting protocol overview

Splitting protocol generalizes halving protocol in such a way that one does not necessarily divide the observed set in two sets of equal size, but any number of sets of equal size. Suppose that we have a pool of samples of size , where . The following procedure splitting hit pool analysis (SHPA) can be applied:

- If  has   elements and if , with this element tested as positive, then no further testing is need. Otherwise, test all elements except the last one. If at least one of them is tested as positive, test the last one; and otherwise the last one is positive and it does not need to be tested.

- If  has  elements, where, then set  can be divided into sets  of the same sizes. Sets ,  are tested – if all of them are negative, then  is positive and does not need to be tested and otherwise  is also tested.  For each set   that is tested as negative, we know that all samples in it are also negative and for each set that is positive, we apply recursively .

Finally, any set of samples can be divided into batches of size  , where factors in this product are optimized in such a way that expected number of tests per sample is minimal (see Appendix C for details) and that:   and. Optimal values of the initial batch   and every subsequent subdivision are presented in the Supplementary Table 3.

Supplementary Table 3. Initial batch size and pool sizes depending on  and .

|  | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 0.1% | 32,1 | 32,4,1 | 32,8,2,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.2% | 23,1 | 32,4,1 | 32,8,2,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.3% | 19,1 | 30,5,1 | 32,8,2,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.4% | 16,1 | 30,5,1 | 32,8,2,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.5% | 15,1 | 30,5,1 | 32,8,2,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.6% | 13,1 | 30,5,1 | 32,8,2,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.7% | 12,1 | 30,5,1 | 27,9,3,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.8% | 12,1 | 25,5,1 | 27,9,3,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 0.9% | 11,1 | 25,5,1 | 27,9,3,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 1.0%-1.1% | 10,1 | 25,5,1 | 27,9,3,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 1.2% | 10,1 | 20,4,1 | 27,9,3,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 1.3%-1.5% | 9,1 | 20,4,1 | 27,9,3,1 | 32,8,4,2,1 | 32,16,8,4,2,1 |
| 1.6%-2.0% | 8,1 | 16,4,1 | 27,9,3,1 | 24,8,4,2,1 | 32,16,8,4,2,1 |
| 2.1% | 7,1 | 16,4,1 | 27,9,3,1 | 24,8,4,2,1 | 32,16,8,4,2,1 |
| 2.2%-2.3% | 7,1 | 16,4,1 | 18,6,2,1 | 24,8,4,2,1 | 32,16,8,4,2,1 |
| 2.4%-2.7% | 7,1 | 12,3,1 | 18,6,2,1 | 24,8,4,2,1 | 32,16,8,4,2,1 |
| 2.8%-2.9% | 6,1 | 12,3,1 | 18,6,2,1 | 16,8,4,2,1 | 32,16,8,4,2,1 |
| 3.0%-3.2% | 6,1 | 12,3,1 | 18,6,2,1 | 16,8,4,2,1 | 16,8,4,2,1 |
| 3.3%-3.5% | 6,1 | 12,3,1 | 12,4,2,1 | 16,8,4,2,1 | 16,8,4,2,1 |
| 3.6%-3.9% | 6,1 | 9,3,1 | 12,4,2,1 | 16,8,4,2,1 | 16,8,4,2,1 |
| 4.0%-5.0% | 5,1 | 9,3,1 | 12,4,2,1 | 16,8,4,2,1 | 16,8,4,2,1 |

Supplementary Figure 3. The splitting protocol scheme

# 5. Hypercube protocol overview

Let us analyze the expected number of tests of the hypercube-algorithm when each sample is tested at most  times, i.e. when  – calculation presented here could be easily generalized to arbitrary number of maximal testing per sample, but   seems very reasonable for providing comparison between methods considering pool sizes available. Further, we shall limit maximal pool size to . Value  is chosen, because it is   which allows hypercube method to demonstrate its full potential and makes comparison skewed in the favor of hypercube method. Again, all calculation for  can be easily generalized to any other value of .

We shall analyze hypercube starting with initial pools of  samples where  .  Note that the first test is needed for each sample (in the pool of  samples). Hence, in the first round expected number of tests per sample is . Sample will be tested for the second time only if at least one sample tested in the same pool with it was positive, i.e. with probability . Hence, the expected number of tests per sample in this round is . Sample will be tested third time only if it was in the second round of testing in the pool of  samples in which at least one was positive. Hence, the expected number of tests in this round is  . Continuing analogously, we can get that the expected number of tests in the -th round of testing, where   is:

.

Hence, expected number of tests per sample is:

.

Therefore, optimal number of tests can be calculated as:

.

Let us denote by  and   optimal values for given . Note that each negative test will be tested in the first round. In the second round, it will be tested if at least one of  in the first pool in which it is tested is positive. It will be tested in the third round if at least one of   samples is positive and so on. Hence, the expected number of tests for the negative sample is:

.

# 6. Information dependent protocol (indept) overview

This protocol utilizes all available information from the laboratory work to optimize the savings. In order to do so, the samples classified into sets:

- - set of samples that can be tested  more times (or equivalently that are already tested  times);

- - families of positive pools, where each positive pool  contains  samples that can be tested  more times.

Obviously, at the beginning of testing, we only have one set  and throughout testing every new sample that comes to testing facility is assigned to test . Optimal set of values  and   that should be tested as a single pool from sets  and ,  respectively, is calculated in the Appendix D. Testing protocol is based on the following procedure:

- In each pool  there is only one sample that is tested as positive, so there is no need for testing such pools;

- If , then in each pool  test pool of  samples. If this pool is negative, then all samples in it are negatives and we know, without testing, that pool of remaining  samples is positive, so we add this pool to .

- If this pool is tested as positive, then it is added to set of pools . Note that we have no knowledge about remaining  samples except that they can be tested  more times, hence we add these samples to the set .

- Test pool of  samples from the set . If it is tested as negative, all these samples are negative; and otherwise it is added as new pool to .

Note, that in this algorithm, we try to maximally utilize all information that we have about each sample (Supplementary Figure 4). This will inevitably lead to more complex management of samples, in sense of time and effort required.  Optimal values (when maximal pool size is 32) of numbers  are presented in the Supplementary Table 4. Optimal values of  are all equal to 1 and optimal values the number for   are given in Supplementary Tables 5-9.

Supplementary Table 4. Optimal values of the numbers

| 0.1% | 1 | 32 | 32 | 32 | 32 | 32 |
| --- | --- | --- | --- | --- | --- | --- |
| 0.2% | 1 | 23 | 32 | 32 | 32 | 32 |
| 0.3% | 1 | 19 | 32 | 32 | 32 | 32 |
| 0.4% | 1 | 16 | 32 | 32 | 32 | 32 |
| 0.5% | 1 | 15 | 32 | 32 | 32 | 32 |
| 0.6% | 1 | 13 | 32 | 32 | 32 | 32 |
| 0.7% | 1 | 12 | 31 | 32 | 32 | 32 |
| 0.8% | 1 | 12 | 27 | 32 | 32 | 32 |
| 0.9% | 1 | 11 | 26 | 32 | 32 | 32 |
| 1.0% | 1 | 10 | 25 | 32 | 32 | 32 |
| 1.1% | 1 | 10 | 21 | 32 | 32 | 32 |
| 1.3% | 1 | 9 | 21 | 30 | 32 | 32 |
| 1.4% | 1 | 9 | 20 | 28 | 32 | 32 |
| 1.5% | 1 | 9 | 18 | 27 | 32 | 32 |
| 1.6% | 1 | 8 | 17 | 25 | 32 | 32 |
| 1.7% | 1 | 8 | 17 | 25 | 31 | 32 |
| 1.8% | 1 | 8 | 17 | 23 | 29 | 32 |
| 1.9% | 1 | 8 | 16 | 23 | 29 | 32 |
| 2.0% | 1 | 8 | 16 | 22 | 27 | 31 |
| 2.1% | 1 | 7 | 14 | 21 | 25 | 28 |
| 2.2% | 1 | 7 | 14 | 20 | 24 | 27 |
| 2.3% | 1 | 7 | 13 | 19 | 23 | 27 |
| 2.4% | 1 | 7 | 13 | 18 | 23 | 26 |
| 2.5% | 1 | 7 | 13 | 18 | 21 | 24 |
| 2.6% | 1 | 7 | 13 | 17 | 21 | 24 |
| 2.7% | 1 | 7 | 13 | 17 | 20 | 23 |
| 2.8% | 1 | 6 | 12 | 16 | 20 | 22 |
| 2.9% | 1 | 6 | 12 | 16 | 20 | 22 |
| 3.0% | 1 | 6 | 12 | 16 | 20 | 21 |
| 3.1% | 1 | 6 | 11 | 16 | 18 | 21 |
| 3.2% | 1 | 6 | 11 | 16 | 18 | 20 |
| 3.3% | 1 | 6 | 10 | 15 | 18 | 20 |
| 3.4% | 1 | 6 | 10 | 14 | 18 | 19 |
| 3.5% | 1 | 6 | 10 | 14 | 17 | 19 |
| 3.6% | 1 | 6 | 10 | 14 | 17 | 18 |
| 3.7% | 1 | 6 | 10 | 14 | 16 | 18 |
| 3.8% | 1 | 6 | 10 | 13 | 15 | 17 |
| 3.9% | 1 | 6 | 10 | 13 | 15 | 16 |
| 4.0% | 1 | 5 | 10 | 13 | 15 | 16 |
| 4.1% | 1 | 5 | 10 | 13 | 14 | 15 |
| 4.2% | 1 | 5 | 10 | 12 | 14 | 15 |
| 4.3% | 1 | 5 | 10 | 12 | 13 | 14 |
| 4.4% | 1 | 5 | 9 | 11 | 13 | 14 |
| 4.5% | 1 | 5 | 9 | 11 | 13 | 14 |
| 4.6% | 1 | 5 | 9 | 11 | 13 | 14 |
| 4.7% | 1 | 5 | 9 | 11 | 13 | 14 |
| 4.8% | 1 | 5 | 9 | 11 | 13 | 13 |
| 4.9% | 1 | 5 | 9 | 11 | 12 | 13 |
| 5.0% | 1 | 5 | 8 | 11 | 12 | 13 |

Supplementary Table 5. Optimal values of the numbers  depending on

| 2-3 | (0.1%,5.0%)->1 |
| --- | --- |
| 4-7 | (0.1%,5.0%)->2 |
| 8-13 | (0.1%,5.0%)->3 |
| 14 | (0.1%,1.2%)->4 (1.3%,5.0%)->3 |
| 15 | (0.1%,2.1%)->4 (2.2%,5.0%)->3 |
| 16 | (0.1%,3.2%)->4 (3.3%,5.0%)->3 |
| 17-20 | (0.1%,5.0%)->4 |
| 22 | (0.1%,0.4%)->5 (0.5%,5.0%)->4 |
| 23 | (0.1%,0.7%)->5 (0.8%,5.0%)->4 |
| 24 | (0.1%,1.0%)->5 (1.1%,5.0%)->4 |
| 25 | (0.1%,1.5%)->5 (1.6%,5.0%)->4 |
| 26 | (0.1%,2.8%)->5 (2.9%,5.0%)->4 |
| 27 | (0.1%,2.9%)->5 (3.0%,5.0%)->4 |
| 28-29 | (0.1%,3.1%)->5 (3.2%,5.0%)->4 |
| 30-31 | (0.1%,3.9%)->5 (4.0%,5.0%)->4 |
| 32 | (0.1%,0.2%)->6 (0.3%,4.1%)->5 (4.2%,5.0%)->4 |

Supplementary Table 6. Optimal values of the numbers  depending on

| 2-3 | (0.1%,5.0%)->1 |
| --- | --- |
| 4-6 | (0.1%,5.0%)->2 |
| 7-8 | (0.1%,5.0%)->3 |
| 9 | (0.1%,0.2%)->4 (0.3%,5.0%)->3 |
| 10 | (0.1%,2.4%)->4 (2.5%,5.0%)->3 |
| 11 | (0.1%,5.0%)->4 |
| 12 | (0.1%,4.7%)->5 (4.8%,5.0%)->4 |
| 13-16 | (0.1%,5.0%)->5 |
| 17 | (0.1%,0.9%)->6 (1.0%,5.0%)->5 |
| 18 | (0.1%,3.3%)->6 (3.4%,5.0%)->5 |
| 19 | (0.1%,2.0%)->7 (2.1%,3.8%)->6 (3.9%,5.0%)->5 |
| 20 | (0.1%,2.4%)->7 (2.5%,4.5%)->6 (4.6%,5.0%)->5 |
| 21 | (0.1%,2.9%)->7 (3.0%,4.8%)->6 (4.9%,5.0%)->5 |
| 22 | (0.1%,2.9%)->7 (3.0%,5.0%)->6 |
| 23 | (0.1%,4.1%)->7 (4.2%,5.0%)->6 |
| 24 | (0.1%,4.3%)->7 (4.4%,5.0%)->6 |
| 25 | (0.1%,0.2%)->8 (0.3%,4.7%)->7 (4.8%,5.0%)->6 |
| 26 | (0.1%,1.4%)->8 (1.5%,5.0%)->7 |
| 27 | (0.1%,1.8%)->8 (1.9%,5.0%)->7 |
| 28 | (0.1%,1.3%)->9 (1.4%,2.0%)->8 (2.1%,5.0%)->7 |
| 29 | (0.1%,0.8%)->10 (0.9%,1.5%)->9 (1.6%,2.2%)->8 (2.3%,5.0%)->7 |
| 30 | (0.1%,1.0%)->10 (1.1%,1.7%)->9 (1.8%,2.3%)->8 (2.4%,5.0%)->7 |
| 31 | (0.1%,1.1%)->10 (1.2%,1.7%)->9 (1.8%,2.8%)->8 (2.9%,5.0%)->7 |
| 32 | (0.1%,1.1%)->10 (1.2%,2.2%)->9 (2.3%,3.1%)->8 (3.2%,5.0%)->7 |

Supplementary Table 7. Optimal values of the numbers  depending on

| 2-3 | (0.1%,5.0%)->1 |
| --- | --- |
| 4-6 | (0.1%,5.0%)->2 |
| 7 | (0.1%,5.0%)->3 |
| 8-11 | (0.1%,5.0%)->4 |
| 12 | (0.1%,2.6%)->5 (2.7%,5.0%)->4 |
| 13 | (0.1%,5.0%)->5 |
| 14 | (0.1%,4.7%)->6 (4.8%,5.0%)->5 |
| 15 | (0.1%,3.3%)->7 (3.4%,5.0%)->6 |
| 16 | (0.1%,3.7%)->7 (3.8%,5.0%)->6 |
| 17 | (0.1%,4.2%)->7 (4.3%,5.0%)->6 |
| 18-19 | (0.1%,5.0%)->7 |
| 20 | (0.1%,0.3%)->8 (0.4%,5.0%)->7 |
| 21 | (0.1%,0.6%)->8 (0.7%,5.0%)->7 |
| 22 | (0.1%,3.0%)->8 (3.1%,5.0%)->7 |
| 23 | (0.1%,0.6%)->9 (0.7%,3.2%)->8 (3.3%,5.0%)->7 |
| 24 | (0.1%,0.2%)->10 (0.3%,2.4%)->9 (2.5%,3.5%)->8 (3.6%,5.0%)->7 |
| 25 | (0.1%,1.9%)->10 (2.0%,2.6%)->9 (2.7%,3.9%)->8 (4.0%,5.0%)->7 |
| 26 | (0.1%,1.8%)->11 (1.9%,2.0%)->10 (2.1%,2.9%)->9 (3.0%,4.5%)->8 (4.6%,5.0%)->7 |
| 27 | (0.1%,1.1%)->12 (1.2%,1.9%)->11 (2.0%,2.2%)->10 (2.3%,3.4%)->9 (3.5%,4.7%)->8 (4.8%,5.0%)->7 |
| 28 | (0.1%,1.2%)->12 (1.3%,2.1%)->11 (2.2%,2.6%)->10 (2.7%,3.5%)->9 (3.6%,5.0%)->8 |
| 29 | (0.1%,1.3%)->12 (1.4%,2.5%)->11 (2.6%,4.2%)->9 (4.3%,5.0%)->8 |
| 30 | (0.1%,1.5%)->12 (1.6%,2.5%)->11 (2.6%,3.1%)->10 (3.2%,4.3%)->9 (4.4%,5.0%)->8 |
| 31 | (0.1%,1.5%)->12 (1.6%,2.9%)->11 (3.0%,3.5%)->10 (3.6%,4.5%)->9 (4.6%,5.0%)->8 |
| 32 | (0.1%,1.8%)->12 (1.9%,3.3%)->11 (3.4%,3.7%)->10 (3.8%,4.7%)->9 (4.8%,5.0%)->8 |

Supplementary Table 8. Optimal values of the numbers  depending on

| 2-3 | (0.1%,5.0%)->1 |
| --- | --- |
| 4-6 | (0.1%,5.0%)->2 |
| 7 | (0.1%,5.0%)->3 |
| 8-12 | (0.1%,5.0%)->4 |
| 13 | (0.1%,5.0%)->5 |
| 14 | (0.1%,5.0%)->6 |
| 15 | (0.1%,4.6%)->7 (4.7%,5.0%)->6 |
| 16 | (0.1%,3.3%)->8 (3.4%,5.0%)->7 |
| 17 | (0.1%,3.6%)->8 (3.7%,5.0%)->7 |
| 18 | (0.1%,3.9%)->8 (4.0%,5.0%)->7 |
| 19 | (0.1%,4.4%)->8 (4.5%,5.0%)->7 |
| 20 | (0.1%,4.8%)->8 |
| 21-23 | (0.1%,5.0%)->8 |
| 24 | (0.1%,3.7%)->9 (3.8%,5.0%)->8 |
| 25 | (0.1%,2.5%)->10 (2.6%,4.0%)->9 (4.1%,5.0%)->8 |
| 26 | (0.1%,1.1%)->11 (1.2%,3.1%)->10 (3.2%,4.3%)->9 (4.4%,5.0%)->8 |
| 27 | (0.1%,0.4%)->12 (0.5%,2.7%)->11 (2.8%,3.3%)->10 (3.4%,4.7%)->9 (4.8%,5.0%)->8 |
| 28 | (0.1%,2.1%)->12 (2.2%,2.9%)->11 (3.0%,3.6%)->10 (3.7%,5.0%)->9 |
| 29 | (0.1%,2.0%)->13 (2.1%,2.2%)->12 (2.3%,3.0%)->11 (3.1%,3.9%)->10 (4.0%,5.0%)->9 |
| 30 | (0.1%,1.6%)->14 (1.7%,2.1%)->13 (2.2%,2.3%)->12 (2.4%,3.3%)->11 (3.4%,4.2%)->10 (4.3%,5.0%)->9 |
| 31 | (0.1%,1.3%)->15 (1.4%,1.7%)->14 (1.8%,2.3%)->13 (2.4%,2.5%)->12 (2.6%,3.5%)->11 (3.6%,4.6%)->10 (4.7%,5.0%)->9 |
| 32 | (0.1%,1.3%)->15 (1.4%,1.8%)->14 (1.9%,2.5%)->13 (2.6%,3.8%)->11 (3.9%,4.9%)->10 (5.0%,5.0%)->9 |

Supplementary Table 9. Optimal values of the numbers  depending on

| 2-3 | (0.1%,5.0%)->1 |
| --- | --- |
| 4-6 | (0.1%,5.0%)->2 |
| 7 | (0.1%,5.0%)->3 |
| 8-12 | (0.1%,5.0%)->4 |
| 13 | (0.1%,5.0%)->5 |
| 14 | (0.1%,5.0%)->6 |
| 15 | (0.1%,5.0%)->7 |
| 16 | (0.1%,4.2%)->8 (4.3%,5.0%)->7 |
| 17 | (0.1%,4.5%)->8 (4.6%,5.0%)->7 |
| 18 | (0.1%,4.9%)->8 (5.0%,5.0%)->7 |
| 19-23 | (0.1%,5.0%)->8 |
| 24 | (0.1%,2.6%)->9 (2.7%,5.0%)->8 |
| 25 | (0.1%,4.0%)->9 (4.1%,5.0%)->8 |
| 26 | (0.1%,3.5%)->10 (3.6%,4.3%)->9 (4.4%,5.0%)->8 |
| 27 | (0.1%,3.1%)->11 (3.2%,3.7%)->10 (3.8%,4.6%)->9 (4.7%,5.0%)->8 |
| 28 | (0.1%,2.7%)->12 (2.8%,3.3%)->11 (3.4%,3.9%)->10 (4.0%,4.9%)->9 (5.0%,5.0%)->8 |
| 29 | (0.1%,2.5%)->13 (2.6%,2.8%)->12 (2.9%,3.4%)->11 (3.5%,4.2%)->10 (4.3%,5.0%)->9 |
| 30 | (0.1%,2.2%)->14 (2.3%,2.6%)->13 (2.7%,2.9%)->12 (3.0%,3.7%)->11 (3.8%,4.5%)->10 (4.6%,5.0%)->9 |
| 31 | (0.1%,1.9%)->15 (2.0%,2.3%)->14 (2.4%,2.7%)->13 (2.8%,3.1%)->12 (3.2%,3.9%)->11 (4.0%,4.9%)->10 (5.0%,5.0%)->9 |
| 32 | (0.1%,1.5%)->16 (1.6%,2.0%)->15 (2.1%,2.4%)->14 (2.5%,2.9%)->13 (3.0%,3.3%)->12 (3.4%,4.2%)->11 (4.3%,5.0%)->10 |

Supplementary Figure 4. The information dependent protocol scheme. Example of the application of the information protocol for  and . State of laboratory at the begging of one round of testing is presented in a) – samples that will be involved in the next round of testing are emphasized by gray color (, ,  and ) . That round of testing is presented in b1-b4) where b1) explains testing of samples that have only one more test allowed, b2) two tests allowed, b3) three tests allowed and b4) four tests allowed. State of laboratory after that round of testing finished is presented in c) – samples involved in this round that are returned for further analyses are emphasized by gray color.

a)

b1)

b2)

b3)

b4)

c)

One problem that we noted is the longer duration of the processing of the entire pool for indept, compared to other protocols (Supplementary Table 5).

Supplementary Table 10. Comparison of the number of cycles needed to complete the entire diagnostic process for pool size P=64, when hypercube and indept protocol are compared

| Prevalence | Number of cycles needed, positive result |  | Ratio | Number of cycles needed, negative result |  | Ratio |
| --- | --- | --- | --- | --- | --- | --- |
|  | hypercube | indept |  | hypercube | indept |  |
| 0.2 | 4 | 7.62 | 1.91 | 1 | 1.15 | 1.18 |
| 0.4 | 4 | 7.65 | 1.91 | 2 | 1.29 | 1.32 |
| 0.6 | 4 | 7.29 | 1.82 | 2 | 1.42 | 1.29 |
| 0.8 | 4 | 7.00 | 1.75 | 2 | 1.53 | 1.23 |
| 1 | 4 | 6.68 | 1.67 | 2 | 1.64 | 1.16 |
| 1.2 | 4 | 6.55 | 1.64 | 2 | 1.39 | 1.40 |
| 1.4 | 4 | 6.20 | 1.55 | 2 | 1.44 | 1.33 |
| 1.6 | 4 | 6.15 | 1.54 | 2 | 1.50 | 1.28 |
| 1.8 | 4 | 6.04 | 1.51 | 2 | 1.55 | 1.26 |
| 2 | 4 | 5.93 | 1.48 | 2 | 1.60 | 1.24 |
| 2.2 | 4 | 5.76 | 1.44 | 2 | 1.65 | 1.18 |
| 2.4 | 4 | 5.58 | 1.39 | 2 | 1.69 | 1.13 |
| 2.6 | 4 | 5.56 | 1.39 | 2 | 1.74 | 1.12 |
| 2.8 | 4 | 5.44 | 1.36 | 2 | 1.78 | 1.09 |
| 3 | 4 | 5.45 | 1.36 | 2 | 1.82 | 1.10 |
| 3.2 | 4 | 5.43 | 1.36 | 2 | 1.86 | 1.10 |
| 3.4 | 4 | 5.26 | 1.31 | 2 | 1.90 | 1.03 |
| 3.6 | 4 | 5.27 | 1.32 | 2 | 1.94 | 1.04 |
| 3.8 | 4 | 5.14 | 1.28 | 2 | 1.98 | 1.00 |
| 4 | 3 | 5.15 | 1.72 | 2 | 1.36 | 1.49 |
| 4.2 | 3 | 4.99 | 1.66 | 2 | 1.37 | 1.44 |
| 4.4 | 3 | 4.85 | 1.62 | 2 | 1.39 | 1.39 |
| 4.6 | 3 | 4.86 | 1.62 | 2 | 1.40 | 1.40 |
| 4.8 | 3 | 4.87 | 1.62 | 2 | 1.42 | 1.41 |
| 5 | 3 | 4.85 | 1.62 | 2 | 1.43 | 1.41 |
| Average±SD |  |  | 1.55±0.18 |  |  | 1.24±0.14 |

In order to offset this, we modified the original indept protocol and enabled the initial branching, which optimizes the protocol for maximum savings (the original indept) or for maximum speed (indeptSp). The development of this protocol was made under the assumption that the negative test result is a priority, since the suspect cases (those who are sent to be tested), must be assumed as positive until they get the negative result (if truly negative). The main change in indeptSp compared to the indept is that at the last T cycle, all samples from the pool undergo individual testing. This reduces the waiting times, but also increases the number of tests that are required to complete the pooling and diagnostics process. In order to optimize the indeptSp protocol, we arbitrarily set the delay at 10%, 15% or 20% longer than the hypercube, and measured the gains in number of tests reduction. The results had shown that indeptSp outperformed the hypercube in all instances, and provided marginally longer processing times than hypercube (Supplementary Table 6).

Supplementary Table 11. Comparison of hypercube and indeptSp protocol outcomes by the ratio of percent of test utilized (rPTU), depending on the prevalence rates in the population, with three initial time delay settings of 10, 15 or 20% longer processing times

| Approach | Parameter | Values |
| --- | --- | --- |
| Processing time extension of 10% | Ratio of tests used (indept over hypercube) | 0.84±0.04 |
|  | Waiting, time negative cases | 1.08±0.03 |
|  | Waiting, time positive cases | 1.41±0.15 |
| Processing time extension of 15% | Ratio of tests used (indept over hypercube) | 0.82±0.02 |
|  | Waiting, time negative cases | 1.12±0.04 |
|  | Waiting, time positive cases | 1.45±0.15 |
| Processing time extension of 20% | Ratio of tests used (indept over hypercube) | 0.82±0.02 |
|  | Waiting, time negative cases | 1.15±0.06 |
|  | Waiting, time positive cases | 1.48±0.17 |

# Appendix A. Halving protocol

Let us inductively calculate the expected number  of tests needed to analyze samples in the pool of size , which is positive. If , then there is only one sample in the pool and that sample is positive. Hence, no testing is needed, i.e. .

Now, let us assume that  and let  and  be two halves of the observed pool. Let us distinguish three possibilities (that tester does not know in advance):

CASE 1:  is negative.

Probability of this case is:

After testing , tester knows that  is positive, hence the required number of tests is:

.

CASE 2:  is positive and  is negative.

Probability of this case is:

and required number of tests is:

.

CASE 3:  and  are both positive:

Probability of this case is:

and required number of tests is:

.

Summing up, we get:

The required number of tests  needed by this protocol if we start by testing pool of size  about which we do now know anything is:

Finally,  is selected such that it minimizes  while respecting the conditions on the maximal pool size and maximal number of tests per sample, i.e.   and .

# Appendix B. Generalized halving protocol

Let us inductively calculate the expected number  of tests needed to analyze samples in the pool of size , which was tested as positive. Let us observe the case . If ,  then we test first  samples and we test the last sample unless the first  tests are negative. Probability of such event is:

,

Hence,

for . It can be seen that the above formula is also true for , because .   Now, let us assume that  and let  and  be two halves of the observed pool. Let us distinguish three possibilities (that tester does not know in advance) and apply calculation very similar to one presented in the Appendix A.

CASE 1:  is negative.

Probability of this case is:

After testing , tester knows that  is positive, hence the required number of tests is:

.

CASE 2:  is positive and  is negative.

Probability of this case is:

and required number of tests is:

.

CASE 3:  and  are both positive:

Probability of this case is:

and required number of tests is:

.

Summing up, we get:

The required number of tests  needed by this protocol if we start by testing pool of size  about which we do now know anything is:

Finally, and  are selected such that they minimizes  while respecting the conditions on the maximal pool size and maximal number of tests per sample, i.e. that and .

# Appendix C. Splitting protocol

Let us inductively calculate the expected number  of tests needed to analyze samples in the pool of size , which was tested as positive. The case  is solved completely analogously as inductive base in the Appendix B and we get:

.

Now, let us assume that  and let ,…, be division of the observed pool in sub-pools having the same number of elements. Note that probability that all sets  will be negative is:

.

Hence, expected initial number of tests to determine which of the pools  are positives:

.

Probability that any set  is positive is:

.

Hence, expected number of positive results is:

.

Therefore,

The required number of tests  needed by this protocol if we start by testing pool of size  about which we do now know anything is:

Finally,  are selected such that they minimizes  while respecting the conditions on the maximal pool size and maximal number of tests per sample, i.e. that and .

# Appendix D. Hypercube protocol

Let us analyze the expected number of tests of the hypercube-algorithm when each sample is tested at most  times, i.e. when  – calculation presented here could be easily generalized to arbitrary number of maximal testing per sample, but   seems very reasonable for providing comparison between methods considering pool sizes available. Further, we shall limit maximal pool size to . Value  is chosen, because it is   which allows hypercube method to demonstrate its full potential savings. Notably, this value can be easily generalized to any other value of .

We shall analyze hypercube protocol by starting with initial pools of  samples where.  Note that the first test is needed for each sample (in the pool of  samples). Hence, in the first testing cycle expected number of tests per sample is . Sample will be tested for the second time only if at least one sample tested in the same pool with it was positive, i.e. with probability. Hence, the expected number of tests per sample in this cycle is . Sample will be tested third time only if it was in the second cycle of testing in the pool of  samples in which at least one was positive. Hence, the expected number of tests in this cycle is  . Continuing analogously, we can get that the expected number of tests in the -th cycle of testing, where   is:

.

Hence, expected number of tests per sample is:

.

Therefore, optimal number of tests can be calculated as:

.

Let us denote by  and   optimal values for given . Note that each negative test will be tested in the first cycle. In the second cycle, it will be tested if at least one of  in the first pool in which it is tested is positive. It will be tested in the third cycle if at least one of   samples is positive and so on. Hence, the expected number of tests for the negative sample is:

.

# Appendix E. Indept protocol

Let us calculate all values  and  by induction on . It can be easily seen that . Note that if we need to analyze hit pool of  samples on each of which only on test is allowed, the only possibility is to test all of them individually except possibly the last one (if all other results are misses, then the last one is hit). Hence,

.

Now, let us solve the problem for . First, let us calculate . Suppose that we test  samples about which nothing is known. Probability that this pool is a miss is   and probability that it is a hit is , hence, expected number of tests needed to examine this  samples is:

.

Optimizing  in order to minimize expected number of tests per sample, we get:

, for each .

Now, let us calculate  by induction on . If , then the only sample in the pool is hit, hence. Let us assume that . Note that probability that pool of size , contained in the hit pool of size , is a miss is equal to:

.

In that case, we know that all these samples are misses and the remaining  samples create hit pool, so expected number of tests needed to test them is .

On the other, hand if pool of size   is hit, then we have no knowledge about remaining  samples, hence:

This gives us all necessary formulas for the calculation of  and .

# Appendix F. Expected number of cycles for the information dependent protocol

Let us calculate the expected number of cycles needed for the sample to be processed in the information dependent protocol. Let  denote the expected number of sample-cycles (unit analogous to man-hours for different job tasks, e.g. if 3 samples are processed in 2 cycles and 1 sample in 3 cycle, we have 9 sample-cycles) for all samples in the positive pool of   samples that can be tested at most  more times  and let  denotes expected waiting time per sample among the set of all samples that can be tested at most   times (measured in cycles). Let  and   denote the same concepts when we restrict our attention to positive samples and let  and   denote the same concepts when we restrict our attention to negative samples.

Note that

because all the samples except the last one are tested in the first cycles and the conclusion about the last one cannot be made if one of the other samples is a positive, hence in that case it must be tested in the next cycle.

It holds that:

because all  samples are tested ones. If the result is negative – all samples are misses and otherwise they form a positive pool of   samples that can be tested at most   times.

Further,

because after testing sub-pool of   samples -  negative result implies that all these samples are negative and remaining   samples create positive pool of samples that can be tested at most  more times; positive result implies that we have a positive result in pool of   samples that can be tested at most  times and  samples that we do not know anything about that can be tested at most  more times.

Let us note that conditional probability that sample is negative in the positive pool of size  is equal to

.

Hence, conditional probability that sample is positive in the positive pool of size  is equal to:

.

Now, let us restrict out attention to positive samples. The calculation holds analogously as above:

It holds that:

and that:

Finally, let us restrict our attention to negative samples:

It holds that:

;

The calculation can be checked by testing it as:

.

Supplementary Figure 5. Comparison of processing time for hypercube and indept protocols, in detection of positive and negative results

# Appendix G. Development of indeptSp protocol

This version of indept protocol utilizes previous assumptions - only in selecting value of   it does not simply minimizes the number of tests, but minimizes this number under assumption that the expected time for processing negative sample may be at most 110% (respectively 115% and 120%) of expected time needed for processing negative sample by hypercube algorithm. This may lead to selection of the smaller values of  (Supplementary Table 7).

Supplementary Table 12. Values of   for indeptSp when maximal expected time for processing negative sample may be at most 110% (respectively 115% and 120%) of expected time needed for processing negative sample by hypercube algorithm

|  | Negative sample processing time delay |  |  |
| --- | --- | --- | --- |
|  | 110% | 115% | 120% |
| 0.2% | 47 | 59 | 64 |
| 0.4% | 40 | 45 | 50 |
| 0.6% | 36 | 41 | 45 |
| 0.8% | 34 | 38 | 42 |
| 1.0% | 32 | 36 | 37 |
| 1.2% | 19 | 21 | 23 |
| 1.4% | 18 | 20 | 22 |
| 1.6% | 18 | 20 | 21 |
| 1.8% | 17 | 19 | 21 |
| 2.0% | 16 | 18 | 20 |
| 2.2% | 16 | 18 | 20 |
| 2.4% | 16 | 18 | 18 |
| 2.6% | 16 | 17 | 17 |
| 2.8% | 16 | 16 | 16 |
| 3.0% | 15 | 16 | 16 |
| 3.2% | 15 | 16 | 16 |
| 3.4% | 14 | 14 | 14 |
| 3.6% | 14 | 14 | 14 |
| 3.8% | 13 | 13 | 13 |
| 4.0% | 6 | 7 | 8 |
| 4.2% | 6 | 7 | 7 |
| 4.4% | 6 | 7 | 7 |
| 4.6% | 6 | 7 | 7 |
| 4.8% | 6 | 7 | 7 |
| 5.0% | 6 | 7 | 7 |